Earthquake Magnitude Calculator for the AS-1 Seismograph 1

Lawrence W. Braile and Saptarshi Dasgupta, Purdue University

SKIP TO CALCULATORS

Introduction:

Magnitude is an estimate of the energy release or size of an earthquake. The estimates are calculated from the amplitude of wave energy on a seismograph adjusting for the magnification of the seismograph and the distance of the seismograph station from the earthquake. Click here for more details and examples of magnitude calculation using the AS-1 seismograph.   A detailed discussion about the different kinds of magnitudes can be found at the USGS site.

Last modified November 11, 2004

The web page for this document is: http://web.ics.purdue.edu/~braile/edumod/MagCalc/MagCalc.htm.

The URL for an MS Word version of this document is: http://web.ics.purdue.edu/~braile/edumod/MagCalc/MagCalcDoc.doc.

Developed by Lawrence W. Braile and Saptarshi Dasgupta, Purdue University, May, 2003.  Funding for this development provided by IRIS and the National Science Foundation.

 Copyright 2003-4.  L. Braile.  Permission granted for reproduction for non-commercial uses.

This earthquake magnitude calculator is designed for the AS-1 Seismograph. Specifications of the instrument can be found at web.ics.purdue.edu/~braile/edumod/as1mag/as1mag.htm.  The description and examples presented here are for the AS-1 vertical component seismograph and the AmaSeis Software. The AmaSeis program connects the AS-1 seismograph to a computer running Windows, provides a continuous seismic record on the monitor, and includes several display and analysis tools. The seismograph records shown here were recorded using an AS-1 seismograph at West Lafayette, IN (Latitude 40.484°N, Longitude 86.881°W).  Results of earthquake monitoring with an AS-1 seismograph and AmaSeis software, including epicenter-to-station distance calculations from S-P times and magnitude calculations, are illustrated at:

web.ics.purdue.edu/~braile/edumod/MagCalc/AS1Results.htm.

AS-1 Seismometer

Things to know before using the Calculator:

The calculator needs three inputs to measure the desired magnitude. The user must supply the Amplitude (in digital units; this amplitude is converted by the calculator to microns of ground displacement using seismometer characteristics determined by calibration of the seismometer), the Period (in seconds) and the Distance (in degrees, geocentric angle). The terms are briefly explained here. For more details, please visit the links shown above.

Epicentral Distance vs. Surface Distance

Click on the type of Magnitude to calculate:

Body Wave Magnitude (mb)

Surface Wave Magnitude (MS)

mbLg Magnitude - (1) 0.5°< D < 4°  (2) 4°<= D <30°

(D=Distance in degrees)

Last modified March 14, 2006

Download an MS Word version of the entire AS-1 Magnitude Calculator document

Download a folder (~2.4MB) that contains a version of the AS-1 Magnitude Calculator that can be run locally on your computer.  Last modified October 14, 2003.  The download files will be called MagCalcLocal.exe.zip.  It is a self-extracting executable file.  Double click to open and unzip (of you don't have a zip program, go to www.winzip.com where you can download a free evaluation version).  A folder called MagCalcLocal will be created.  After placing this folder on your desktop and opening the folder, double click on MagCalc.htm and you will be able to perform all the magnitude calculations without being connected to the Internet.  Of course to access links that are to Internet locations, you will need to be connected.  The folder also contains an MS Word file that includes the entire AS-1 Magnitude Calculator document (instructions and examples).

Body Wave Magnitude (25 deg < D < 90 deg, T~1-3 s)

Fig. (a) AmaSeis 24-hr record showing the Iceland Earthquake. Fig. (b) Extracted seismogram for the Iceland earthquake showing the P wave and the surface waves. Fig. (c) Close-up of the P-wave arrival. Click on the image for an enlarged view and an example of the measuring the amplitude and period.

Supply the first three inputs in the Calculator and click on <Calculate> to find the mb Magnitude.

| EARTHQUAKE MAGNITUDE |
| --- |
| Amplitude |  | Digital Units From AS-1/AmaSeis |
| Distance |  | Degrees |
| Period |  | Seconds |
| Magnitude |  | mb |
| Calculate |  |  |

mb = log10(A/T) + 0.01*D + 5.9 (Compressional Body Wave (P-wave) Magnitude) defined by Gutenberg and Richter (1956) except that T, the period in seconds, is restricted to 1 to 3 s and A, the ground amplitude in micrometers, is not necessarily the maximum in the P group. D, the epicentral distance should be in the range 25° - 90°. Use only the following values of T : 1, 1.5, 2, 3, 5 seconds.

Enlarged Views (Body Wave Magnitude)

Fig. (a) AmaSeis 24-hr record (screen display) for the Iceland Earthquake.

Fig. (b) Extracted seismogram of the Iceland earthquake (6/21/2000) containing the P arrival and the surface wave arrivals.

Fig. (c) Close-up of the P-wave arrival for the Iceland earthquake and example amplitude and period measurements.

Example:

D = 44.23 degrees

A = 48 digital units

T = 2 seconds

mb = 5.8

The official USGS mb magnitude is 6.1. Check to see that the calculator works with these values.

Surface Wave Magnitude (20 deg < D < 160 deg, T~20 s)

Fig. (a) AmaSeis 24-hr record of the August 4, 2000, MS 7.1 Sakhalin Island earthquake. Fig. (b) Extracted seismogram of the Sakhalin Island earthquake showing the P arrival and the surface wave arrivals. Fig. (c) Close-up of the surface wave arrivals. Click on the image for an enlarged view and an example of measuring the amplitude and period.

Supply the first three inputs in the Calculator and click on <Calculate> to find the MS Magnitude.

| EARTHQUAKE MAGNITUDE |
| --- |
| Amplitude |  | Digital Units from AS-1/AmaSeis |
| Distance |  | Degrees |
| Period |  | Seconds |
| Magnitude |  | MS |
| Calculate |  |  |

Ms = log (A/T) + 1.66 log D + 3.3 where A is the maximum ground amplitude in micrometers (microns) of the vertical component of the surface wave within the period range 18 to 22 s. T is the period in seconds. Use T=20s for the calculator. D is the distance in geocentric degrees (station to epicenter) and 20° <= D <= 160°.

Enlarged Views (Surface Wave Magnitude)

Fig. (a) AmaSeis 24-hr record showing the Sakhalin Island earthquake.

Fig. (b) Extracted seismogram for the Sakhalin Island earthquake (8/4/2000) showing the P wave and surface wave arrivals.

Fig. (c) Close-up of the Surface wave arrival for the Sakhalin Island earthquake and example amplitude and period measurements.

Example:

D = 81.08 degrees

A = 48 digital units

T = 20 seconds

MS = 7.0

The official USGS MS magnitude is 7.1. Check to see that the calculator works with these values.

mbLg Magnitude (0.5°< D < 4°, T~1 s)

Fig. (a) AmaSeis 24-hr record showing the June 18, 2002, mbLg 5.3 Evansville earthquake. Fig. (b) Extracted seismogram showing the Lg waves. Fig. (c) Close-up of the Lg wave arrival.

Supply the first three inputs in the Calculator and click on Calculate to find the mbLg Magnitude.

| EARTHQUAKE MAGNITUDE |
| --- |
| Amplitude |  | Digital Units From AS-1/AmaSeis |
| Distance |  | Degrees |
| Period |  | Seconds |
| Magnitude |  | mbLg |
| Calculate |  |  |

mbLg = 3.75 + 0.90 log D + log (A/T) for 0.5° <= D <= 4° (Body Wave Magnitude using the Lg wave) as proposed by Nuttli (1973) where A is the ground amplitude in micrometers and T is the period in seconds calculated from the vertical component 1-second Lg waves. Use only the following values of T: 1, 1.5, 2, 3 seconds. D is the distance in geocentric degrees. The mbLg magnitude formula is primarily used for earthquakes at relatively small distance in intraplate regions such as central and eastern North America.

Enlarged Views (mbLg Magnitude, distance 0.5o to 4o)

Fig. (a) AmaSeis 24-hr record showing the Evansville earthquake.

Fig. (b) Extracted seismogram for the Evansville earthquake (6/18/2002) containing the P arrival and the Lg wave arrivals.

Fig. (c) Close-up of the Lg wave arrivals for the Evansville earthquake and example amplitude and period measurements.

Example:

D = 2.59 degrees

A = 1250 digital units

T = 2 seconds

mbLg = 5.0

The official USGS mbLg magnitude is 5.3. Check to see that the calculator works with these values.

Lg Wave Magnitude (4°< D < 30°, T~1 s)

Fig. (a) AmaSeis 24-hr record showing the April 29, 2003, mbLg 4.9 NE Alabama earthquake. Fig. (b) Extracted seismogram showing the Lg waves. Fig. (c) Close-up of the Lg wave arrival.

Supply the first three inputs in the Calculator and click on Calculate to find the mbLg Magnitude.

| EARTHQUAKE MAGNITUDE |
| --- |
| Amplitude |  | Digital Units From AS-1/AmaSeis |
| Distance |  | Degrees |
| Period |  | Seconds |
| Magnitude |  | mbLg |
| Calculate |  |  |

mbLg = 3.30 + 1.66 log D + log (A/T) for 4° <= D <= 30° (Body Wave Magnitude using the Lg wave) as proposed by Nuttli (1973) where A is the ground amplitude in micrometers and T is the period in seconds calculated from the vertical component 1-second Lg waves. Use only the following values of T: 1, 1.5, 2, 3 seconds. D is the distance in geocentric degrees. The mbLg magnitude formula is primarily used for earthquakes at relatively small distance in intraplate regions such as central and eastern North America.

Enlarged Views (mbLg Magnitude, distance 4o to 30o)

Fig. (a) AmaSeis 24-hr record showing the NE Alabama Earthquake.

Fig. (b) Extracted seismogram for the NE Alabama earthquake (4/29/2003) containing the P arrival and the Lg wave arrivals.

Fig. (c) Close-up of the Lg wave arrivals for the NE Alabama earthquake and example amplitude and period measurements.

Example:

D = 6.05 degrees

A = 770 digital units

T = 1.5 seconds

mbLg = 5.3

The official USGS mbLg magnitude is 4.9. Check to see that the calculator works with these values.

Using the AS-1 Seismograph and AmaSeis Software in the Classroom – Recording Earthquakes, Calculating Magnitude and Epicenter to Station Distance

Lawrence W. Braile, Purdue University,

braile@purdue.edu, http://web.ics.purdue.edu/~braile

5 minutes

January 22, 2003, M7.8, Colima, Mexico earthquake recorded on an AS-1 seismograph and AmaSeis software at West Lafayette, IN. Distance = 26.01 degrees.  Seismogram was filtered from 0.001 – 0.1 Hz.

Maintaining a catalog of recorded earthquakes is a convenient and educational exercise associated with educational seismograph operation.  Data entries require observation and analysis of seismograms, retrieving information from the internet and performing simple calculations.

Continuous or short duration (several weeks or months) recording of earthquakes with an educational seismograph is an excellent component of an in-depth science experience that includes record keeping, mathematical calculations and opportunities for significant learning about earthquakes, seismology, plate tectonics and related Earth science.  Using the seismograph and recorded seismograms, students can “do science” using their own real data rather than just reading about or listening to descriptions of science.  Monitoring earthquakes requires the useful exercises of maintaining an instrument, good record keeping (see example of a portion of an earthquake catalog above), retrieving additional information on the earthquake from the Internet, and making consistent observations of data.  Over 3 years of experience with monitoring earthquakes with the AS-1 seismograph demonstrates that even in the relatively low seismicity Midwest or  eastern North America, frequent (mostly teleseismic) earthquakes are recorded  at relatively quiet sites.  Visible earthquake seismograms are present every few days and an event that produces a seismogram that can be used for magnitude or distance calculations occurs, on the average, about once per week.  The AmaSeis software (developed by Alan Jones for the AS-1 seismograph with support from IRIS) is easy to use and provides several useful features and tools for archiving, viewing and analyzing data.  Exercises that use the recorded earthquake data include determining magnitude and epicenter to station distance.  Although the AS-1 is a relatively simple and inexpensive seismograph, the results of these analyses are reasonably accurate (see examples below) thus validating the students’ efforts and increasing the interest in learning.  Additional information about the AS-1 seismograph, AS-1 magnitude calculations and using the AS-1/AmaSeis seismograph in educational seismology is contained in the listed website.

Using the AmaSeis travel time curve tool to determine the epicenter-to-station distance from the S-P arrival times.  January 22, 2003, M7.8, Colima, Mexico earthquake recorded on an AS-1 seismograph and AmaSeis software at West Lafayette, IN; Distance = 26.01 degrees.

Comparing actual and AS-1/AmaSeis S-P calculated distances.  N = 95; Standard Deviation = 2.29 degrees (April, 2006).

Comparing actual and AS-1/AmaSeis magnitudes (April, 2006).  The AS-1 magnitude calculations result in accurate magnitude determinations.    Standard deviations of the differences between AS-1 (single station) and USGS (average of many stations) magnitudes are similar to other (standard seismograph) single station uncertainties.

MS Magnitudes: N = 116; Standard Deviation = 0.25 magnitude units.

mb Magnitudes: N = 229; Standard Deviation = 0.27 magnitude units.

mbLg Magnitudes: N = 27; Standard Deviation = 0.34 magnitude units.

Although we cannot calculate Moment Magnitudes (Mw or simply, M) from AS-1 seismograms, the mb, MS and mbLg magnitudes calculated from AS-1 seismograms provide reasonably accurate estimates of Mw.  This figure shows the comparison of AS-1 magnitudes (mbLg, mb and MS) with USGS Mw magnitudes.

Return to L. Braile’s Home Page